## Repair Estimate
Line Item | Category | Amount ($) | Notes
Structural repair - production floor & roof framing | Like-Kind-and-Quality Repair | 620000 | Fire and heat damage to steel framing and roof deck
Electrical system replacement (like-kind) | Like-Kind-and-Quality Repair | 310000 | Replacement of damaged panels, conduit, and wiring to prior specification
Roofing and exterior wall restoration | Like-Kind-and-Quality Repair | 220000 | Replacement of damaged roofing membrane and exterior wall panels
Interior finishes and fixtures | Like-Kind-and-Quality Repair | 0 | No separate claim; included in structural line above
Fire sprinkler system upgrade to current code | Code-Required Upgrade (Ordinance or Law) | 120000 | Current fire code requires full sprinkler coverage; prior system was only partial and grandfathered
Electrical service upgrade to current code | Code-Required Upgrade (Ordinance or Law) | 60000 | Current electrical code requires upgraded panel capacity and arc-fault protection beyond prior installation
Debris removal and disposal | Debris Removal | 45000 | Removal of fire debris, damaged materials, and hazardous waste disposal
Like-Kind-and-Quality Repair Subtotal |  | 1150000
Code-Required Upgrade (Ordinance or Law) Subtotal |  | 180000
Debris Removal Subtotal |  | 45000
Estimated Repair Completion Timeline |  |  | 7 months from date of loss (by approximately May 14, 2026)